## Sheet1
ZTRACK ¦ LIVE TELEMATIC
Fecha | Set Point | Temp Supply | Return Air | Evaporation Coil | Ambient Air | Capacity Load | Cargo 1 temp | Cargo 2 temp | Cargo 3 temp | Cargo 4 temp | Relative Humidity | Co2 reading | Condensation Coil | Compres Coil 1 | Avl | Line Voltage | Line Frequency | Consumption ph 1 | Consumption ph 2 | Consumption ph 3 | Evaporator Speed | Condenser Speed | Power kwh | Alarm Present | Capacity Load (2) | Power State | Controlling Mode
4/4/2025, 4:23:05 a. m. | 26.3 | 26.3 | 26.7 | 27.4 | 26.1 | N/A | 23.3 | 24.2 | 24.6 | 25.2 | 65 | 0.1 | 39.8 | 64.5 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:22:05 a. m. | 26.3 | 25.1 | 26.9 | 26.3 | 26.5 | N/A | 22.7 | 23.9 | 24.6 | 26 | 65 | 0.1 | 43.6 | 68.4 | 225 | 461 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:20:51 a. m. | 26.3 | 26.4 | 26.9 | 27.6 | 26.6 | N/A | 22.8 | 24.1 | 24.8 | 26.1 | 65 | 0.2 | 37.8 | 67.1 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:19:38 a. m. | 26.3 | 25.2 | 26.9 | 27.3 | 26.9 | N/A | 22.4 | 23.8 | 24.5 | 26.3 | 65 | 0.2 | 39.9 | 69.8 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:18:25 a. m. | 26.3 | 26.6 | 27 | 27.6 | 25.5 | N/A | 23 | 24.4 | 24.8 | 26.6 | 64 | 0.2 | 38.8 | 64.7 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:17:12 a. m. | 26.3 | 25.1 | 26.9 | 27.1 | 26.3 | N/A | 22.6 | 24 | 24.2 | 26.4 | 64 | 0.1 | 40.1 | 67.7 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:15:59 a. m. | 26.3 | 26.8 | 26.9 | 27.7 | 26.1 | 1 | 22.9 | 24.1 | 24.5 | 26.3 | 64 | 0.1 | 37.5 | 65.4 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | 1 | Encendido | N/A
4/4/2025, 4:14:46 a. m. | 26.3 | 25.8 | 26.9 | 27.4 | 26.3 | N/A | 22.7 | 24.1 | 24.6 | 25.9 | 64 | 0.1 | 38.5 | 68.3 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:13:32 a. m. | 26.3 | 25 | 26.9 | 26.9 | 26.8 | N/A | 22.7 | 24.1 | 24.5 | 26 | 64 | 0.1 | 44.2 | 70.4 | 225 | 461 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:12:19 a. m. | 26.3 | 25.8 | 26.9 | 27.4 | 26.1 | N/A | 23.4 | 24.3 | 24.8 | 26.3 | 64 | 0.1 | 39.7 | 65.6 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:11:05 a. m. | 26.3 | 24.8 | 26.9 | 26.4 | 26.6 | N/A | 23.6 | 24.4 | 24.5 | 26.3 | 64 | 0.1 | 43.1 | 68.5 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:09:52 a. m. | 26.3 | 26.1 | 27 | 27.6 | 26.5 | N/A | 24.4 | 24.6 | 24.9 | 26.3 | 64 | 0.1 | 38.7 | 68.2 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:08:39 a. m. | 26.3 | 25 | 27 | 27.1 | 26.8 | N/A | 24.2 | 24.5 | 24.9 | 26.3 | 64 | 0.1 | 42.2 | 71 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:07:26 a. m. | 26.3 | 26.8 | 27.1 | 27.8 | 26.5 | N/A | 24.4 | 24.6 | 25.1 | 26.4 | 64 | 0.1 | 39.2 | 65.2 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:06:10 a. m. | 26.3 | 24.9 | 27.2 | 26.9 | 27.2 | N/A | 24.1 | 24.5 | 25 | 26.4 | 64 | 0.1 | 42.4 | 69.9 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:04:57 a. m. | 26.3 | 26.9 | 27.4 | 28.1 | 25.5 | N/A | 24.4 | 24.6 | 25.2 | 26.7 | 65 | 0.1 | 37.7 | 66.8 | 225 | 462 | 61 | 8.5 | 7.3 | 8.1 | 60 | 91 | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:03:44 a. m. | 26.3 | 25.2 | 27.4 | 27.5 | 25.7 | N/A | 24.2 | 24.6 | 25.1 | 26.8 | 65 | 0.1 | 41.8 | 71.2 | 225 | 461 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:02:31 a. m. | 26.3 | 26.8 | 27.5 | 28.1 | 25.2 | N/A | 24.6 | 24.7 | 25.4 | 27 | 65 | 0.1 | 37.9 | 66.1 | 225 | 461 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 4:01:18 a. m. | 26.3 | 24.8 | 27.4 | 27 | 25.5 | N/A | 23.9 | 24.5 | 25.3 | 27 | 65 | 0.1 | 42.6 | 70.8 | 225 | 461 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:59:59 a. m. | 26.3 | 26.8 | 27.6 | 28.2 | 26 | N/A | 24.1 | 24.6 | 28 | 26.7 | 65 | 0.1 | 37.8 | 67.7 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:58:46 a. m. | 26.3 | 25.2 | 27.6 | 27.4 | 26.4 | N/A | 23.9 | 24.5 | 28.2 | 27.5 | 66 | 0.2 | 43.6 | 71.8 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:57:33 a. m. | 26.3 | 26.6 | 27.7 | 693.9 | 89.5 | N/A | -383.9 | -230.4 | 716.8 | 1689.7 | 16897 | 25.6 | -3148.7 | -2508.7 | -7936 | -12417 | 16129 | N/A | N/A | N/A | 15360 | N/A | 26478.1 | No | N/A | Encendido | N/A
4/4/2025, 3:56:19 a. m. | 26.3 | 25.1 | 27.7 | 26.9 | 26.4 | N/A | 23.1 | 24.5 | 27.2 | 32.4 | 67 | 0.1 | 44.5 | 71.1 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:55:00 a. m. | 26.3 | 26.6 | 27.8 | 28.4 | 25.7 | N/A | 23.3 | 24.6 | 32.1 | 32.5 | 67 | 0.1 | 38.3 | 68.8 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:53:48 a. m. | 26.3 | 25.4 | 27.8 | 27.9 | 25.6 | N/A | 22.6 | 24.6 | 32.1 | 32.4 | 67 | 0.1 | 41.8 | 71.8 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:52:34 a. m. | 26.3 | 26.3 | 27.9 | 693.9 | -89.7 | N/A | -563.2 | -204.8 | 1638.4 | 1689.7 | 17409 | 51.2 | -3225.5 | -2047.9 | -7936 | -12673 | 16129 | N/A | N/A | 25.6 | 15360 | N/A | 26478.1 | No | N/A | Encendido | N/A
4/4/2025, 3:51:20 a. m. | 26.3 | 25.2 | 28 | 27.3 | 25.3 | N/A | 23.3 | 24.9 | 31.9 | 32.2 | 69 | 0.2 | 43.2 | 71.9 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:50:00 a. m. | 26.3 | 26.1 | 28.1 | 28.5 | 25.3 | N/A | 24.3 | 25.3 | 31.9 | 32.2 | 71 | 0.2 | 38.2 | 72.3 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:48:47 a. m. | 26.3 | 25.3 | 693.9 | 512.1 | 89.5 | N/A | -383.9 | -76.8 | 1587.2 | 1612.9 | 18433 | 76.8 | -1638.3 | -511.9 | -7936 | -12929 | 16129 | N/A | N/A | 25.6 | 15360 | N/A | 26475.5 | No | N/A | Encendido | N/A
4/4/2025, 3:47:34 a. m. | 26.3 | 26 | 28.6 | 28.6 | 27.6 | N/A | 25.4 | 26.1 | 31.6 | 31.9 | 74 | 0.7 | 40.8 | 75 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:46:20 a. m. | 26.3 | 27.1 | 28.7 | 29 | 26.3 | 4 | 26.5 | 26.5 | 31.5 | 31.9 | 74 | 0.8 | 38.7 | 70.2 | 225 | 460 | 61 | 12.4 | 12.3 | 11.9 | 60 | 95 | 106 | No | 4 | Encendido | N/A
4/4/2025, 3:45:07 a. m. | 26.3 | 26.7 | 28.6 | 28.5 | 26.1 | N/A | 26.3 | 26.5 | 31.5 | 32 | 74 | 0.8 | 43 | 71.7 | 225 | 461 | 61 | 11.3 | 11.3 | 10.9 | 60 | 100 | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:43:53 a. m. | 26.3 | 26.5 | 28.4 | 28.6 | 24.8 | N/A | 26.3 | 26.3 | 31.3 | 31.8 | 73 | 0.8 | 40.5 | 70.4 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:42:40 a. m. | 26.3 | 26.5 | 28.4 | 27.9 | 25.7 | 1 | 26.1 | 26.2 | 31.3 | 31.8 | 73 | 0.7 | 44.6 | 69.5 | 225 | 464 | 63 | 4 | 5.1 | 3.9 | 60 | N/A | 106 | No | 1 | Encendido | N/A
4/4/2025, 3:41:26 a. m. | 26.3 | 26.5 | 28.1 | 28.6 | 27 | N/A | 25.9 | 26 | 31.1 | 31.4 | 71 | 0.8 | 40.1 | 67.6 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:40:13 a. m. | 26.3 | 27.6 | 28.1 | 28.7 | 24.4 | 2 | 26 | 26 | 31 | 31.4 | 70 | 0.8 | 38.4 | 58.8 | 225 | 460 | 61 | 11.6 | 11.5 | 11.2 | 60 | 89 | 106 | No | 2 | Encendido | N/A
4/4/2025, 3:39:00 a. m. | 26.3 | 26.9 | 27.8 | 28.4 | 24.2 | N/A | 25.7 | 25.6 | 30.9 | 31.3 | 68 | 0.8 | 38.8 | 61.9 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:37:46 a. m. | 26.3 | 26 | 27.6 | 27.9 | 24.3 | N/A | 25.4 | 25.5 | 30.8 | 31.3 | 66 | 0.8 | 39.5 | 65.2 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:36:33 a. m. | 26.3 | 24 | 27.4 | 26.8 | 25.3 | N/A | 25.1 | 25.2 | 30.9 | 31.4 | 66 | 0.8 | 42.2 | 69 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:35:19 a. m. | 24 | 23.8 | 27.3 | 27.3 | 24.7 | N/A | 25 | 25.2 | 30.9 | 31.4 | 66 | 0.7 | 43.5 | 71.8 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:34:06 a. m. | 24 | 24.3 | 27.2 | 26.9 | 21.8 | N/A | 25 | 25.3 | 30.8 | 31.3 | 66 | 0.7 | 32.1 | 67.6 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 106 | No | N/A | Encendido | N/A
4/4/2025, 3:22:48 a. m. | 24 | 23.7 | 27.4 | 26.6 | 23.7 | 1 | 24.9 | 25.2 | 31 | 31.3 | 66 | 0.7 | 41 | 69.8 | 225 | 460 | 61 | 12 | 11.9 | 11.5 | 60 | N/A | 105.9 | No | 1 | Encendido | N/A
4/4/2025, 3:21:35 a. m. | 24 | 23.5 | 27.3 | 26.1 | 22.5 | 2 | 24.9 | 25.1 | 31 | 31.4 | 66 | 0.7 | 41.1 | 70.1 | 225 | 462 | 63 | 0.1 | 0.2 | 0.1 | 60 | N/A | 105.9 | No | 2 | Encendido | N/A
4/4/2025, 3:20:07 a. m. | 24 | 24 | 27.2 | 27.1 | 22.1 | N/A | 25 | 25.2 | 31 | 31.3 | 66 | 0.7 | 35.8 | 70 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.9 | No | N/A | Encendido | N/A
4/4/2025, 3:17:25 a. m. | 24 | 24.7 | 27.4 | 27.4 | 22.3 | 3 | 25.1 | 25.3 | 31.2 | 31.3 | 66 | 0.7 | 32.5 | 68.9 | 225 | 460 | 61 | 11.6 | 11.6 | 11.2 | 60 | 80 | 105.9 | No | 3 | Encendido | N/A
4/4/2025, 3:13:16 a. m. | 24 | 24 | 27.4 | 26.6 | 22 | 4 | 25 | 25.2 | 30.9 | 31.1 | 66 | 0.7 | 37.2 | 68.7 | 225 | 461 | 61 | 12.8 | 12.8 | 12.3 | 60 | 60 | 105.9 | No | 4 | Encendido | N/A
4/4/2025, 3:11:54 a. m. | 24 | 23.2 | 27.4 | 26 | 22.6 | N/A | 24.8 | 25.1 | 31 | 31.3 | 66 | 0.7 | 43 | 72.7 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.9 | No | N/A | Encendido | N/A
4/4/2025, 3:10:41 a. m. | 24 | 24 | 27.3 | 27.1 | 23.8 | N/A | 25 | 25.2 | 31 | 31.3 | 66 | 0.7 | 40.4 | 71.3 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.9 | No | N/A | Encendido | N/A
4/4/2025, 3:09:28 a. m. | 24 | 24.3 | 27.3 | 26.4 | 22.7 | 7 | 25 | 25.3 | 31 | 31.3 | 66 | 0.7 | 37.7 | 66.7 | 225 | 461 | 62 | 11.1 | 11.2 | 10.6 | 60 | 76 | 105.9 | No | 7 | Encendido | N/A
4/4/2025, 3:08:15 a. m. | 24 | 23.6 | 27.2 | 26 | 21.6 | 1 | 24.9 | 25.1 | 31.1 | 31.2 | 66 | 0.7 | 37.4 | 68.6 | 225 | 460 | 61 | 11.6 | 11.6 | 11.2 | 60 | 74 | 105.9 | No | 1 | Encendido | N/A
4/4/2025, 3:07:02 a. m. | 24 | 23.7 | 27.2 | 26.8 | 21.5 | N/A | 24.9 | 25.1 | 31.1 | 31.3 | 66 | 0.7 | 39 | 70.6 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.9 | No | N/A | Encendido | N/A
4/4/2025, 3:05:50 a. m. | 24 | 24.3 | 27.2 | 27.2 | 21.3 | 7 | 25 | 25.3 | 31 | 31.5 | 66 | 0.7 | 33.6 | 68 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.9 | No | 7 | Encendido | N/A
4/4/2025, 3:04:37 a. m. | 24 | 24.9 | 27.3 | 27.2 | 21.2 | 4 | 25.1 | 25.3 | 30.9 | 31.5 | 66 | 0.7 | 29.6 | 63.3 | 225 | 461 | 61 | 11.5 | 11.4 | 11 | 60 | 75 | 105.9 | No | 4 | Encendido | N/A
4/4/2025, 3:02:53 a. m. | 24 | 24.6 | 27.3 | 27.1 | 21.4 | N/A | 25.2 | 25.3 | 30.9 | 31.5 | 66 | 0.8 | 32.2 | 66.6 | 225 | 461 | 61 | 11.4 | 11.4 | 11 | 60 | 84 | 105.9 | No | N/A | Encendido | N/A
4/4/2025, 2:52:26 a. m. | 24 | 24.7 | 27.2 | 27.1 | 21.7 | 4 | 25.1 | 25.3 | 31.1 | 31.5 | 66 | 0.7 | 33.7 | 67.3 | 225 | 461 | 61 | 11.7 | 11.6 | 11.3 | 60 | 83 | 105.8 | No | 4 | Encendido | N/A
4/4/2025, 2:51:13 a. m. | 24 | 23.5 | 27.2 | 26.3 | 21.8 | N/A | 24.9 | 25.1 | 31.3 | 31.7 | 67 | 0.7 | 42.3 | 71.7 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.8 | No | N/A | Encendido | N/A
4/4/2025, 2:50:00 a. m. | 24 | 23.2 | 27.2 | 26.5 | 22 | N/A | 24.8 | 25.1 | 31.3 | 31.6 | 67 | 0.7 | 43.8 | 73.4 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.8 | No | N/A | Encendido | N/A
4/4/2025, 2:48:47 a. m. | 24 | 24.7 | 27.3 | 27.3 | 21.8 | N/A | 25.1 | 25.4 | 31.4 | 31.6 | 66 | 0.8 | 33 | 68.7 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | 83 | 105.8 | No | N/A | Encendido | N/A
4/4/2025, 1:59:49 a. m. | 24 | 24.5 | 27.2 | 27.1 | 22.5 | N/A | 25 | 25.2 | 31.2 | 31.5 | 68 | 0.7 | 32.5 | 69.5 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:58:34 a. m. | 24 | 24.9 | 27.5 | 27.2 | 22.3 | N/A | 25.1 | 25.2 | 31 | 31.2 | 68 | 0.7 | 32.6 | 68.7 | 225 | 461 | 61 | 11.6 | 11.6 | 11.2 | 60 | 80 | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:57:14 a. m. | 24 | 23.4 | 27.1 | 26.2 | 22.7 | N/A | 24.8 | 25 | 31.2 | 31.6 | 68 | 0.7 | 44.6 | 73.1 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:55:53 a. m. | 24 | 23.3 | 27.1 | 26.5 | 22.7 | N/A | 24.8 | 25 | 31.4 | 31.6 | 68 | 0.7 | 41.6 | 73.4 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:54:40 a. m. | 24 | 25 | 27.2 | 27.3 | 22.6 | 6 | 25.1 | 25.2 | 31 | 31.2 | 68 | 0.7 | 32.8 | 67.6 | 225 | 460 | 61 | 11.7 | 11.6 | 11.2 | 60 | 79 | 105.7 | No | 6 | Encendido | N/A
4/4/2025, 1:53:17 a. m. | 24 | 24.4 | 27.2 | 26.7 | 22.4 | 6 | 25 | 25.2 | 31.1 | 31.3 | 69 | 0.7 | 36 | 68.5 | 225 | 461 | 61 | 11.5 | 11.5 | 11.1 | 60 | 87 | 105.7 | No | 6 | Encendido | N/A
4/4/2025, 1:52:03 a. m. | 24 | 23.4 | 27.2 | 26.5 | 23.4 | N/A | 24.8 | 25 | 31.1 | 31.2 | 69 | 0.7 | 43 | 72.5 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:50:51 a. m. | 24 | 23.3 | 27.2 | 26.2 | 23.7 | N/A | 24.8 | 25 | 31.3 | 31.4 | 69 | 0.7 | 43.9 | 72.5 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:49:38 a. m. | 24 | 24 | 27.2 | 27.1 | 23.5 | N/A | 25 | 25.2 | 31.3 | 31.2 | 69 | 0.7 | 41.8 | 70.7 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:48:24 a. m. | 24 | 24.7 | 27.3 | 27.1 | 22.5 | 3 | 25.1 | 25.3 | 31.6 | 31.4 | 69 | 0.7 | 32.3 | 65.9 | 225 | 461 | 61 | 11.3 | 11.3 | 10.9 | 60 | 81 | 105.7 | No | 3 | Encendido | N/A
4/4/2025, 1:47:12 a. m. | 24 | 24.6 | 27.3 | 27.1 | 22.7 | 1 | 25.1 | 25.3 | 31.7 | 31.6 | 69 | 0.7 | 35.3 | 66.2 | 225 | 461 | 61 | 11.9 | 11.8 | 11.4 | 60 | 89 | 105.7 | No | 1 | Encendido | N/A
4/4/2025, 1:45:33 a. m. | 24 | 24.1 | 27.3 | 26.9 | 22.7 | N/A | 25 | 25.2 | 31.4 | 31.2 | 69 | 0.7 | 39.4 | 68.8 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:44:19 a. m. | 24 | 24.6 | 27.2 | 27.2 | 22.5 | 1 | 25.1 | 25.3 | 31.4 | 31.1 | 69 | 0.7 | 33.2 | 68.3 | 225 | 460 | 61 | 11.6 | 11.5 | 11.1 | 60 | 85 | 105.7 | No | 1 | Encendido | N/A
4/4/2025, 1:43:06 a. m. | 24 | 24.7 | 27.2 | 27.3 | 22.8 | N/A | 25.1 | 25.2 | 31.3 | 31.2 | 69 | 0.7 | 32.8 | 70.9 | 225 | 464 | 63 | 5.8 | 5.7 | 5 | 60 | 85 | 105.7 | No | N/A | Encendido | N/A
4/4/2025, 1:41:50 a. m. | 24 | 23.5 | 27.2 | 26.4 | 23.5 | 1 | 24.8 | 25.1 | 31.2 | 31.1 | 69 | 0.7 | 42.1 | 74.3 | 225 | 463 | 63 | 5.3 | 5.3 | 8.4 | 60 | N/A | 105.7 | No | 1 | Encendido | N/A
4/4/2025, 1:40:33 a. m. | 24 | 23.4 | 27.2 | 26 | 26.2 | N/A | 24.8 | 25 | 31.3 | 31.1 | 69 | 0.7 | 46 | 75.4 | 225 | 462 | 63 | N/A | 0.1 | 0.1 | 60 | N/A | 105.6 | No | N/A | Encendido | N/A
4/4/2025, 1:39:20 a. m. | 24 | 24.1 | 27.2 | 27 | 30.9 | N/A | 24.9 | 25.1 | 31.2 | 31.1 | 69 | 0.7 | 43 | 73.4 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.6 | No | N/A | Encendido | N/A
4/4/2025, 1:38:07 a. m. | 24 | 24 | 27.2 | 27 | 23.5 | N/A | 25 | 25.1 | 31.4 | 31.4 | 69 | 0.7 | 37 | 70.5 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.6 | Sí | N/A | Encendido | N/A
4/4/2025, 1:36:54 a. m. | 24 | 24.5 | 27.2 | 27.1 | 23.4 | 3 | 25.1 | 25.2 | 31.5 | 31.4 | 69 | 0.7 | 35 | 70.2 | 225 | 460 | 61 | 11.6 | 11.6 | 11.2 | 60 | 89 | 105.6 | Sí | 3 | Encendido | N/A
4/4/2025, 1:35:37 a. m. | 24 | 24.7 | 27.2 | 27.3 | 24 | 6 | 25.1 | 25.3 | 31.6 | 31.4 | 69 | 0.7 | 33.6 | 71.7 | 225 | 460 | 61 | 11.9 | 11.8 | 11.5 | 60 | 86 | 105.6 | Sí | 6 | Encendido | N/A
4/4/2025, 1:30:05 a. m. | 24 | 23.3 | 27.3 | 26.7 | 25 | N/A | 24.9 | 25.1 | 31.5 | 31.3 | 70 | 0.6 | 45 | 73.9 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.6 | Sí | N/A | Encendido | N/A
4/4/2025, 1:28:52 a. m. | 24 | 23.3 | 27.4 | 26.5 | 24.5 | N/A | 25 | 25.2 | 31.6 | 31.3 | 71 | 0.7 | 42.3 | 72.9 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.6 | Sí | N/A | Encendido | N/A
4/4/2025, 1:27:37 a. m. | 24 | 24.1 | 27.4 | 27.4 | 24.3 | N/A | 25.2 | 25.4 | 31.5 | 31.2 | 71 | 0.7 | 37 | 71.4 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.6 | Sí | N/A | Encendido | N/A
4/4/2025, 1:23:11 a. m. | 24 | 23.7 | 27.8 | 27.6 | 24.9 | 17 | 25.4 | 25.6 | 31.6 | 31.4 | 77 | 0.6 | 44.7 | 77.1 | 225 | 460 | 61 | 11 | 10.9 | 10.6 | 60 | 100 | 105.6 | Sí | 17 | Encendido | N/A
4/4/2025, 1:21:58 a. m. | 24 | 24.7 | 27.9 | 27.4 | 24.4 | 20 | 25.7 | 25.9 | 31.8 | 31.6 | 78 | 0.7 | 43.3 | 69.3 | 225 | 460 | 61 | 11.4 | 11.3 | 10.9 | 60 | 100 | 105.6 | Sí | 20 | Encendido | N/A
4/4/2025, 1:20:45 a. m. | 25.5 | 26.2 | 27.9 | 28.1 | 24 | N/A | 25.9 | 26 | 31.5 | 31.4 | 78 | 0.6 | 31.2 | 65 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.6 | Sí | N/A | Encendido | N/A
4/4/2025, 1:17:58 a. m. | 25.5 | 25 | 27.8 | 27.2 | 24.3 | N/A | 25.6 | 25.8 | 31.5 | 31.4 | 79 | 0.6 | 42.2 | 69.3 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.6 | Sí | N/A | Encendido | N/A
4/4/2025, 1:16:45 a. m. | 25.5 | 25.5 | 27.8 | 27.9 | 24.3 | N/A | 25.7 | 25.8 | 31.4 | 31.4 | 80 | 0.6 | 35.1 | 68.2 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.6 | Sí | N/A | Encendido | N/A
4/4/2025, 1:13:50 a. m. | 25.5 | 26.2 | 28 | 27.9 | 23.9 | 1 | 25.8 | 25.9 | 31.3 | 31.1 | 81 | 0.6 | 32.6 | 64 | 225 | 460 | 61 | 11.7 | 11.6 | 11.3 | 60 | 81 | 105.5 | Sí | 1 | Encendido | N/A
4/4/2025, 1:10:51 a. m. | 25.5 | 26 | 27.8 | 27.6 | 23.7 | 4 | 25.6 | 25.7 | 31.1 | 31.1 | 82 | 0.6 | 33.6 | 63.3 | 225 | 460 | 61 | 11.4 | 11.4 | 11 | 60 | 80 | 105.5 | Sí | 4 | Encendido | N/A
4/4/2025, 1:09:38 a. m. | 25.5 | 24.9 | 27.6 | 27.3 | 24.2 | N/A | 25.4 | 25.5 | 31.2 | 31.2 | 83 | 0.6 | 43.8 | 68.2 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 1:08:30 a. m. | 25.5 | 24.9 | 27.6 | 27.2 | 24.1 | N/A | 25.3 | 25.4 | 31.1 | 31 | 83 | 0.6 | 41.2 | 67.5 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 1:06:59 a. m. | 25.5 | 26 | 27.7 | 27.8 | 23.9 | N/A | 25.5 | 25.6 | 31 | 30.9 | 84 | 0.6 | 31.2 | 63.9 | 225 | 462 | 62 | N/A | N/A | N/A | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 1:02:05 a. m. | 25.5 | 25.3 | 27 | 26.9 | 24.6 | 2 | 25 | 25.1 | 31 | 30.6 | 85 | 0.5 | 38 | 64 | 225 | 461 | 61 | 10.3 | 10.3 | 9.9 | 60 | 73 | 105.5 | Sí | 2 | Encendido | N/A
4/4/2025, 1:00:51 a. m. | 25.5 | 25 | 26.8 | 26.9 | 24.9 | N/A | 24.8 | 24.8 | 31 | 30.3 | 84 | 0.5 | 40.2 | 64.2 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 12:59:30 a. m. | 25.5 | 25.9 | 26.7 | 27.2 | 24.1 | N/A | 24.9 | 24.9 | 31.1 | 30.4 | 84 | 0.5 | 35 | 58.2 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 12:58:16 a. m. | 25.5 | 24.9 | 26.5 | 26.6 | 24.1 | N/A | 24.5 | 24.6 | 31 | 30.4 | 83 | 0.4 | 42.3 | 61.4 | 225 | 461 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 12:56:58 a. m. | 25.5 | 25.9 | 26.4 | 26.9 | 24.4 | N/A | 24.5 | 24.4 | 31.3 | 30.5 | 82 | 0.4 | 26.5 | 53.2 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 12:55:44 a. m. | 25.5 | 25.4 | 26 | 26.5 | 24.9 | N/A | 24.1 | 24.1 | 30.9 | 30.4 | 81 | 0.4 | 28.4 | 60.3 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 12:54:25 a. m. | 25.5 | 24.9 | 25.6 | 26 | 25.4 | N/A | 23.7 | 23.7 | 31.1 | 30.5 | 80 | 0.4 | 32.3 | 66 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.5 | Sí | N/A | Encendido | N/A
4/4/2025, 12:53:09 a. m. | 25.5 | 24.5 | 25.4 | 23.8 | 26.6 | 1 | 23.1 | 23.4 | 30.9 | 31.1 | 79 | 0.3 | 44.8 | 69.9 | 225 | 463 | 63 | 5 | 6.5 | 6.3 | 60 | N/A | 105.5 | Sí | 1 | Encendido | N/A
4/4/2025, 12:51:54 a. m. | 25.5 | 26.6 | 25.4 | 26.1 | 26.3 | 4 | 23.6 | 23.6 | 30.8 | 30.3 | 77 | 0.3 | 29.8 | 66 | 225 | 460 | 62 | 4.3 | 4.8 | 4.7 | N/A | N/A | 105.5 | Sí | 4 | Encendido | N/A
4/4/2025, 12:50:39 a. m. | 25.5 | 25.4 | 24.9 | 25.7 | 27.4 | -100 | 23.1 | 23 | 30.7 | 30.4 | 75 | 0.3 | 35.3 | 72.5 | 225 | 461 | 61 | 5.1 | 5.1 | 5.1 | 60 | N/A | 105.5 | No | -100 | Encendido | N/A
4/4/2025, 12:49:25 a. m. | 25.5 | 24.3 | 24.5 | 25.3 | 693.9 | -100 | -793.5 | -793.6 | 1152 | 1075.3 | 18945 | 51.2 | 36.3 | 76.4 | -7936 | -12929 | 15617 | 1305.6 | 1305.6 | 1305.6 | 15360 | N/A | 26352.7 | No | -100 | Encendido | N/A
4/4/2025, 12:48:08 a. m. | 25.5 | 20.9 | 24 | 24.4 | 28.4 | -100 | 21.7 | 21.8 | 29 | 29.8 | 75 | 0.2 | 38.1 | 82.6 | 225 | 461 | 61 | 5.1 | 5.1 | 5.1 | 60 | N/A | 105.5 | No | -100 | Encendido | N/A
4/4/2025, 12:46:56 a. m. | 20 | 18.7 | 24.1 | 24 | 28.9 | 59 | 21.4 | 21.5 | 30.3 | 29.9 | 78 | 0.2 | 45.6 | 87.2 | 225 | 460 | 61 | 11.1 | 11 | 10.7 | 60 | 100 | 105.5 | No | 59 | Encendido | N/A
4/4/2025, 12:45:44 a. m. | 20 | 19.3 | 24.2 | 24.3 | 29.1 | 86 | 21.6 | 21.8 | 27.1 | 30.1 | 80 | 0.2 | 47.1 | 87.7 | 225 | 459 | 61 | 11.3 | 11.2 | 10.8 | 60 | 100 | 105.5 | No | 86 | Encendido | N/A
4/4/2025, 12:44:32 a. m. | 20 | 20.2 | 24.3 | 24.4 | 29 | 99 | 21.8 | 21.9 | 30.6 | 30 | 81 | 0.2 | 47.8 | 87.8 | 225 | 459 | 61 | 11.4 | 11.4 | 11 | 60 | 100 | 105.5 | No | 99 | Encendido | N/A
4/4/2025, 12:43:20 a. m. | 20 | 20.6 | 24.4 | 24.5 | 27.8 | 100 | 22.1 | 22.2 | 30.8 | 30.2 | 82 | 0.1 | 47.7 | 87.3 | 225 | 459 | 61 | 11.5 | 11.5 | 11.1 | 60 | 100 | 105.4 | No | 100 | Encendido | N/A
4/4/2025, 12:42:07 a. m. | 20 | 20.9 | 24.3 | 24.5 | 27.4 | 88 | 22.4 | 22.4 | 30.5 | 30 | 82 | 0.1 | 47.4 | 86.9 | 225 | 460 | 61 | 11.4 | 11.4 | 10.9 | 60 | 100 | 105.4 | No | 88 | Encendido | N/A
4/4/2025, 12:40:53 a. m. | 20 | 21 | 24.2 | 24.3 | 693.9 | 66 | -793.5 | -844.8 | 512 | 1152.1 | 20481 | 25.6 | 47.8 | 85.2 | -7936 | -13185 | 15617 | 2944 | 2918.4 | 2816 | 15360 | 25600 | 26329.6 | No | 66 | Encendido | N/A
4/4/2025, 12:39:38 a. m. | 20 | 21.1 | 23.9 | 24 | 28.4 | 30 | 22.4 | 22.2 | 25.5 | 29.3 | 78 | 0.1 | 47.5 | 82.6 | 225 | 460 | 61 | 11.5 | 11.4 | 11 | 60 | 100 | 105.4 | No | 30 | Encendido | N/A
4/4/2025, 12:38:25 a. m. | 20 | 21.5 | 23.8 | 23.5 | 28.9 | 8 | 22.4 | 22.1 | 25.4 | 27.8 | 75 | 0.1 | 46.6 | 77.2 | 225 | 460 | 61 | 11.4 | 11.3 | 10.9 | 60 | 100 | 105.4 | No | 8 | Encendido | N/A
4/4/2025, 12:37:11 a. m. | 20 | 23.3 | 23.6 | 23.8 | 28.8 | N/A | 22.2 | 21.6 | 24.2 | 23.1 | 70 | 0.1 | 37.9 | 64.9 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.4 | No | N/A | Encendido | N/A
4/4/2025, 12:35:52 a. m. | 20 | 22.8 | 22.8 | 22.9 | 28.9 | N/A | 21.7 | 20.9 | 22 | 21 | 66 | 0.1 | 38.2 | 67.7 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.4 | No | N/A | Encendido | N/A
4/4/2025, 12:34:31 a. m. | 20 | 20.7 | 20.8 | 21.1 | 29.1 | -89 | 20.3 | 19.4 | 19 | 19 | 60 | 0.1 | 38.8 | 72.7 | 225 | 461 | 61 | 4.6 | 4.8 | 4.8 | 60 | N/A | 105.4 | No | -89 | Encendido | N/A
4/4/2025, 12:33:12 a. m. | 20 | 14.8 | 19.4 | 19.1 | 1087.9 | -60 | -2124.7 | -2150.4 | -2278.4 | -2252.8 | 14592 | 25.6 | 46 | 693.9 | -7936 | -12929 | 15873 | N/A | N/A | 25.6 | 15360 | N/A | 26321.9 | No | -60 | Encendido | N/A
4/4/2025, 12:32:00 a. m. | 15 | 15.2 | 19.6 | 18.6 | 29.3 | 5 | 17.5 | 17.4 | 17.1 | 16.9 | 57 | 0.1 | 46.6 | 78.4 | 225 | 460 | 61 | 11.2 | 11 | 10.7 | 60 | 100 | 105.4 | No | 5 | Encendido | N/A
4/4/2025, 12:30:47 a. m. | 15 | 13.5 | 19.7 | 19.8 | 28.8 | N/A | 17.5 | 17.4 | 17 | 16.6 | 57 | 0.1 | 46 | 83.6 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.4 | No | N/A | Encendido | N/A
4/4/2025, 12:29:32 a. m. | 15 | 13.9 | 20.1 | 20.1 | 29.6 | 42 | 17.9 | 17.8 | 17.4 | 16.9 | 59 | 0.1 | 46.1 | 84.2 | 225 | 460 | 61 | 11 | 10.9 | 10.6 | 60 | 100 | 105.4 | No | 42 | Encendido | N/A
4/4/2025, 12:28:17 a. m. | 15 | 15.5 | 20.7 | 20.8 | 29.4 | 96 | 18.6 | 18.4 | 18.1 | 17.6 | 60 | 0.1 | 45.8 | 84.5 | 225 | 460 | 61 | 11.1 | 11 | 10.6 | 60 | 100 | 105.3 | No | 96 | Encendido | N/A
4/4/2025, 12:27:02 a. m. | 15 | 17.1 | 20.9 | 21.1 | 29.6 | 100 | 19 | 18.9 | 18.4 | 18.1 | 61 | 0.1 | 45.5 | 84.6 | 225 | 460 | 61 | 11 | 11 | 10.6 | 60 | 100 | 105.3 | No | 100 | Encendido | N/A
4/4/2025, 12:25:43 a. m. | 15 | 17.1 | 21.5 | 21.7 | 29.7 | 100 | 19.5 | 19.3 | 18.8 | 18.3 | 62 | 0.1 | 45.5 | 84.7 | 225 | 460 | 61 | 11.1 | 11 | 10.7 | 60 | 100 | 105.3 | No | 100 | Encendido | N/A
4/4/2025, 12:24:28 a. m. | 15 | 16.6 | 21.9 | 22.1 | 29.4 | 100 | 19.8 | 19.7 | 19.3 | 18.5 | 64 | 0.1 | 45.3 | 84.7 | 225 | 461 | 61 | 11.1 | 11 | 10.6 | 60 | 100 | 105.3 | No | 100 | Encendido | N/A
4/4/2025, 12:23:12 a. m. | 15 | 17 | 22.7 | 22.9 | 29.1 | 100 | 20.5 | 20.3 | 19.9 | 19.1 | 68 | 0.1 | 45.1 | 85 | 225 | 460 | 61 | 11.1 | 11 | 10.6 | 60 | 100 | 105.3 | No | 100 | Encendido | N/A
4/4/2025, 12:21:56 a. m. | 15 | 17.9 | 23.2 | 23.4 | 29.4 | 100 | 21 | 20.8 | 20.4 | 19.6 | 70 | 0.1 | 45.3 | 85.4 | 225 | 460 | 61 | 11.1 | 11 | 10.7 | 60 | 100 | 105.3 | No | 100 | Encendido | N/A
4/4/2025, 12:20:38 a. m. | 15 | 19 | 24 | 24.2 | 30.3 | 100 | 21.8 | 21.6 | 21.3 | 20.4 | 74 | 0.1 | 46.8 | 85.7 | 225 | 461 | 61 | 11.3 | 11.2 | 10.8 | 60 | 100 | 105.3 | No | 100 | Encendido | N/A
4/4/2025, 12:17:40 a. m. | 15 | 21.6 | 25.5 | 25.8 | 28.7 | 100 | 23.4 | 23.2 | 23.1 | 22.4 | 82 | 0.1 | 45.2 | 83.2 | 225 | 461 | 61 | 11.2 | 11.1 | 10.7 | 60 | 100 | 105.2 | No | 100 | Encendido | N/A
4/4/2025, 12:16:24 a. m. | 15 | 22.7 | 26 | 26.3 | 28.7 | 100 | 24 | 23.9 | 23.8 | 23.2 | 83 | 0.1 | 45.1 | 80.3 | 225 | 460 | 61 | 11.2 | 11.1 | 10.7 | 60 | 100 | 105.2 | No | 100 | Encendido | N/A
4/4/2025, 12:15:07 a. m. | 25.5 | 24.9 | 26.4 | 26.7 | 28.2 | N/A | 24.6 | 24.5 | 24.5 | 24.2 | 85 | 0.1 | 42.7 | 69.7 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:13:51 a. m. | 25.5 | 25.9 | 26.5 | 27.2 | 28 | N/A | 24.6 | 24.6 | 24.7 | 24.4 | 85 | 0.1 | 39.2 | 66.8 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:12:37 a. m. | 25.5 | 25.2 | 26.5 | 26.9 | 693.9 | N/A | -255.9 | -281.6 | -256 | -358.4 | 21760 | 25.6 | 41 | 69.7 | -7936 | -12673 | 16129 | N/A | N/A | N/A | 15360 | N/A | 26273.3 | No | N/A | Encendido | N/A
4/4/2025, 12:11:24 a. m. | 25.5 | 25.7 | 26.6 | 27.3 | 27.8 | N/A | 24.8 | 24.7 | 24.8 | 24.5 | 86 | 0.1 | 39.8 | 68.9 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:10:06 a. m. | 25.5 | 24.9 | 26.6 | 26.9 | 27.9 | N/A | 24.8 | 24.7 | 24.8 | 24.5 | 86 | 0.1 | 43.9 | 71.1 | 225 | 461 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:08:52 a. m. | 25.5 | 25.1 | 26.6 | 26.9 | 27.8 | N/A | 24.8 | 24.7 | 24.8 | 24.5 | 86 | 0.1 | 42.8 | 70.6 | 225 | 462 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:07:37 a. m. | 25.5 | 25.9 | 26.7 | 27.3 | 27.5 | N/A | 24.9 | 24.8 | 24.9 | 24.7 | 87 | 0.1 | 39.7 | 67.8 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:06:09 a. m. | 25.5 | 26 | 26.7 | 27.3 | 27.3 | 2 | 24.9 | 24.9 | 25 | 24.7 | 87 | 0.1 | 39.6 | 66.6 | 225 | 460 | 61 | 12 | 11.9 | 11.5 | 60 | 97 | 105.2 | No | 2 | Encendido | N/A
4/4/2025, 12:04:53 a. m. | 25.5 | 24.8 | 26.6 | 26.9 | 28.2 | N/A | 24.6 | 24.7 | 24.8 | 24.6 | 88 | 0.1 | 44.1 | 70.6 | 225 | 463 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:03:36 a. m. | 25.5 | 25.7 | 26.6 | 27.2 | 27.8 | N/A | 24.8 | 24.8 | 24.9 | 24.6 | 88 | 0.1 | 40 | 67.8 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:02:20 a. m. | 25.5 | 26 | 26.6 | 27.3 | 27.7 | N/A | 24.9 | 24.9 | 25 | 24.8 | 88 | 0.1 | 39 | 67.1 | 225 | 461 | 60 | 15.1 | 15 | 14.6 | 60 | 97 | 105.2 | No | N/A | Encendido | N/A
4/4/2025, 12:01:03 a. m. | 25.5 | 25.1 | 26.5 | 26.9 | 28.1 | N/A | 24.6 | 24.7 | 24.8 | 24.5 | 89 | 0.1 | 42.6 | 69.8 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 5:02:48 p. m. | 25.5 | 25.8 | 26.5 | 27.2 | 29.8 | N/A | 24.9 | 24.9 | 24.8 | 24.5 | 87 | 0.1 | 42.2 | 67 | 225 | 455 | 62 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 5:01:35 p. m. | 25.5 | 25.1 | 26.5 | 26.8 | 29.9 | N/A | 24.7 | 24.8 | 24.6 | 24.4 | 87 | 0.1 | 45.4 | 69.1 | 225 | 455 | 62 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 5:00:22 p. m. | 25.5 | 25.3 | 26.4 | 26.8 | 30.4 | N/A | 24.8 | 24.8 | 24.6 | 24.3 | 87 | 0.1 | 43.9 | 68.1 | 225 | 455 | 62 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:59:09 p. m. | 25.5 | 25.9 | 26.4 | 27.1 | 30 | N/A | 24.9 | 24.9 | 24.8 | 24.5 | 88 | 0.1 | 41.8 | 65.6 | 225 | 455 | 62 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:57:56 p. m. | 25.5 | 25 | 26.3 | 26.3 | 30.8 | N/A | 24.7 | 24.6 | 24.5 | 24.2 | 88 | 0.1 | 45 | 69.3 | 225 | 454 | 62 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:56:43 p. m. | 25.5 | 25.9 | 26.4 | 27.1 | 29.6 | N/A | 24.9 | 24.8 | 24.7 | 24.5 | 88 | 0.1 | 40.4 | 65.8 | 225 | 455 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:55:30 p. m. | 25.5 | 25.4 | 26.3 | 26.9 | 30 | N/A | 24.8 | 24.7 | 24.5 | 24.3 | 88 | 0.1 | 41.9 | 68.3 | 225 | 455 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:54:17 p. m. | 25.5 | 25.9 | 26.3 | 27.1 | 29.2 | N/A | 24.8 | 24.9 | 24.6 | 24.4 | 89 | 0.1 | 40.4 | 61.3 | 225 | 455 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:53:04 p. m. | 25.5 | 25.6 | 26.3 | 27 | 29.6 | N/A | 24.8 | 24.8 | 24.5 | 24.4 | 89 | 0.1 | 41.1 | 63.9 | 225 | 454 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:51:51 p. m. | 25.5 | 24.8 | 26.2 | 26.3 | 30.3 | N/A | 24.7 | 24.7 | 24.3 | 24.3 | 90 | 0.1 | 44.7 | 67.6 | 225 | 455 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:50:38 p. m. | 25.5 | 25.8 | 26.3 | 27 | 30 | N/A | 24.9 | 24.8 | 24.6 | 24.6 | 90 | 0.1 | 40.2 | 64.2 | 225 | 454 | 62 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:49:25 p. m. | 25.5 | 25.4 | 26.2 | 26.8 | 30.4 | N/A | 24.8 | 24.7 | 24.5 | 24.4 | 91 | 0.1 | 42 | 66.7 | 225 | 455 | 62 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:48:12 p. m. | 25.5 | 25.9 | 26.2 | 26.9 | 29.9 | N/A | 24.9 | 24.8 | 24.6 | 24.6 | 91 | 0.1 | 41.3 | 59.1 | 225 | 455 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:46:59 p. m. | 25.5 | 25.3 | 26.2 | 26.4 | 29.7 | N/A | 24.7 | 24.6 | 24.5 | 24.4 | 92 | 0.1 | 42.7 | 61.3 | 225 | 454 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:45:46 p. m. | 25.5 | 25.7 | 26.2 | 26.9 | 28.7 | N/A | 24.9 | 24.8 | 24.7 | 24.6 | 93 | 0.1 | 39.3 | 58.8 | 225 | 454 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:44:32 p. m. | 25.5 | 25.4 | 26.1 | 26.8 | 29.2 | N/A | 24.9 | 24.7 | 24.6 | 24.6 | 93 | 0.1 | 41 | 60.7 | 225 | 455 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:43:19 p. m. | 25.5 | 25.5 | 26.2 | 26.8 | 28.2 | 1 | 24.9 | 24.8 | 24.7 | 24.7 | 93 | 0.1 | 42.5 | 53.6 | 225 | 453 | 60 | 11.1 | 11.1 | 10.9 | 60 | 100 | 105.1 | Sí | 1 | Encendido | N/A
3/4/2025, 4:42:06 p. m. | 25.5 | 25.6 | 26.1 | 26.8 | 28.6 | N/A | 24.9 | 24.8 | 24.7 | 24.7 | 94 | 0.1 | 43 | 52.5 | 225 | 454 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:40:53 p. m. | 25.5 | 25.4 | 26 | 26.3 | 28.7 | N/A | 25 | 24.8 | 24.7 | 24.7 | 94 | 0.1 | 44.6 | 54.1 | 225 | 455 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:39:40 p. m. | 25.5 | 25.8 | 26 | 26.6 | 693.9 | N/A | -127.9 | -179.2 | -204.8 | -204.8 | 24832 | 51.2 | 48.2 | 50.5 | -7936 | -14465 | 16129 | N/A | N/A | N/A | 15360 | N/A | 26255.4 | Sí | N/A | Encendido | N/A
3/4/2025, 4:38:27 p. m. | 25.5 | 25.4 | 25.9 | 26.1 | 28.1 | N/A | 24.9 | 24.7 | 24.6 | 24.7 | 97 | 0.2 | 49.1 | 52.2 | 225 | 454 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:37:13 p. m. | 25.5 | 25.7 | 26 | 26 | 28.1 | N/A | 25 | 24.8 | 24.8 | 24.8 | 97 | 0.2 | 37.5 | 49.9 | 225 | 454 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.1 | Sí | N/A | Encendido | N/A
3/4/2025, 4:36:00 p. m. | 25.5 | 25.6 | 26 | 26.7 | 28.2 | N/A | 25 | 24.8 | 24.9 | 24.9 | 97 | 0.2 | 36 | 47.6 | 225 | 454 | 63 | N/A | N/A | N/A | 60 | N/A | 105.1 | No | N/A | Encendido | N/A
3/4/2025, 4:34:46 p. m. | 25.5 | 25.6 | 26 | 26.7 | 28.1 | N/A | 25 | 24.7 | 24.8 | 24.9 | 97 | 0.1 | 36.6 | 49 | 225 | 454 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.1 | No | N/A | Encendido | N/A
3/4/2025, 4:33:32 p. m. | 25.5 | 25.4 | 25.9 | 26.4 | 28.2 | N/A | 25.1 | 24.7 | 24.8 | 24.9 | 94 | 0.1 | 38.1 | 50.6 | 225 | 454 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.1 | No | N/A | Encendido | N/A
3/4/2025, 4:32:18 p. m. | 25.5 | 24.9 | 25.9 | 26.1 | 28 | N/A | 25.1 | 24.6 | 24.6 | 24.8 | 94 | 0.1 | 42.3 | 48.6 | 225 | 454 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.1 | No | N/A | Encendido | N/A
3/4/2025, 4:31:05 p. m. | 25.5 | 25.8 | 25.8 | 26.3 | 27.1 | N/A | 25.2 | 24.7 | 24.9 | 25 | 93 | E01 | 41.2 | 38.3 | 225 | 453 | 59 | N/A | N/A | N/A | 60 | N/A | 105.1 | No | N/A | Encendido | N/A
3/4/2025, 4:29:52 p. m. | 25.5 | 25.5 | 25.7 | 25.9 | 27 | N/A | 25.2 | 24.6 | 24.8 | 24.9 | 92 | E01 | 42.5 | 38.6 | 225 | 454 | 59 | N/A | N/A | 0.1 | 60 | N/A | 105.1 | No | N/A | Encendido | N/A
3/4/2025, 4:28:40 p. m. | 25.5 | 24.9 | 25.5 | 25.5 | 26.7 | N/A | 24.9 | 24.7 | 24.7 | 24.9 | 91 | E01 | 42.6 | 38.1 | 225 | 452 | 59 | N/A | N/A | 0.1 | 60 | N/A | 105.1 | No | N/A | Encendido | N/A
3/4/2025, 4:27:27 p. m. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | Apagado | N/A
3/4/2025, 11:59:48 p. m. | 25.5 | 25.3 | 26.5 | 26.9 | 27.7 | N/A | 24.6 | 24.7 | 24.8 | 24.6 | 89 | 0.1 | 42 | 67.7 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:58:33 p. m. | 25.5 | 25.8 | 26.5 | 27.2 | 27.5 | N/A | 24.8 | 24.8 | 24.9 | 24.7 | 89 | 0.1 | 39.2 | 67 | 225 | 462 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:57:18 p. m. | 25.5 | 25.3 | 26.5 | 26.9 | 27.6 | N/A | 24.7 | 24.7 | 24.8 | 24.7 | 89 | 0.1 | 42.1 | 67.3 | 225 | 463 | 63 | 0.1 | 0.1 | 0.1 | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:56:03 p. m. | 25.5 | 25.6 | 26.5 | 27 | 27.5 | 2 | 24.8 | 24.8 | 24.9 | 24.8 | 90 | 0.1 | 40.6 | 65.9 | 225 | 463 | 63 | 0.4 | 0.5 | 1 | 60 | N/A | 105.2 | No | 2 | Encendido | N/A
3/4/2025, 11:54:48 p. m. | 25.5 | 25.5 | 26.4 | 26.9 | 27.8 | N/A | 24.7 | 24.7 | 24.8 | 24.7 | 90 | 0.1 | 39.9 | 67 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:53:33 p. m. | 25.5 | 25.8 | 26.4 | 27 | 27.5 | N/A | 24.8 | 24.8 | 24.9 | 24.8 | 90 | 0.2 | 39.1 | 65.6 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:52:15 p. m. | 25.5 | 26 | 26.4 | 27 | 27.3 | N/A | 24.9 | 24.8 | 25 | 24.9 | 90 | 0.1 | 38.4 | 63.2 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | 95 | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:50:57 p. m. | 25.5 | 25 | 26.3 | 26.6 | 27.6 | N/A | 24.7 | 24.6 | 24.7 | 24.6 | 90 | 0.1 | 41.3 | 65.8 | 225 | 463 | 63 | N/A | N/A | N/A | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:49:40 p. m. | 25.5 | 25.4 | 26.3 | 26.7 | 27.5 | N/A | 24.8 | 24.7 | 24.8 | 24.7 | 90 | 0.1 | 39.8 | 63.7 | 225 | 464 | 63 | N/A | N/A | 0.1 | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:48:24 p. m. | 25.5 | 26 | 26.3 | 26.7 | 26.8 | N/A | 24.9 | 24.9 | 25 | 25 | 89 | E01 | 41.1 | 58.1 | 225 | 463 | 59 | 15 | 14.2 | 13.7 | 60 | 100 | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:47:06 p. m. | 25.5 | 25.9 | 26.3 | 26.3 | 25.6 | N/A | 24.9 | 24.8 | 24.9 | 24.9 | 89 | E01 | 55 | 49.1 | 225 | 462 | 61 | 13.4 | 13.2 | 12.8 | 60 | 100 | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:45:49 p. m. | 25.5 | 25 | 26.3 | 25.7 | 25.4 | N/A | 24.6 | 24.5 | 24.6 | 24.7 | 88 | E01 | 52.6 | 46.7 | 225 | 463 | 64 | N/A | N/A | 0.1 | 60 | N/A | 105.2 | No | N/A | Encendido | N/A
3/4/2025, 11:44:31 p. m. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | Apagado | N/A
1/4/2025, 6:45:33 p. m. | 25.5 | 25.3 | 30.3 | 29.2 | 29.8 | 3 | 27 | 27.6 | 27.8 | 33.3 | 60 | 1.1 | 49.4 | 85.4 | 225 | 460 | 61 | 12 | 11.9 | 11.5 | 60 | 100 | 105 | No | 3 | Encendido | N/A
1/4/2025, 6:44:01 p. m. | 25.5 | 25.2 | 30.3 | 29.4 | 31.1 | 5 | 26.8 | 27.5 | 27.7 | 32.9 | 61 | 1.1 | 49.1 | 86.4 | 225 | 460 | 61 | 11.6 | 11.6 | 11.2 | 60 | 100 | 105 | No | 5 | Encendido | N/A
1/4/2025, 6:42:45 p. m. | 25.5 | 25.8 | 30.2 | 30.1 | 32 | N/A | 27 | 27.6 | 27.8 | 33 | 61 | 1.1 | 45.8 | 86.1 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 105 | No | N/A | Encendido | N/A
1/4/2025, 6:41:29 p. m. | 25.5 | 25.4 | 30.3 | 30 | 32.3 | N/A | 26.9 | 27.6 | 27.8 | 33.5 | 61 | 1 | 46.7 | 87 | 225 | 461 | 63 | N/A | N/A | N/A | 60 | N/A | 105 | No | N/A | Encendido | N/A
1/4/2025, 6:40:14 p. m. | 25.5 | 26.1 | 30.3 | 30 | 31.7 | 8 | 27 | 27.7 | 27.8 | 33.7 | 61 | 1 | 45.5 | 83.1 | 225 | 459 | 60 | 12.6 | 12.6 | 12.2 | 60 | 100 | 105 | No | 8 | Encendido | N/A
1/4/2025, 6:38:58 p. m. | 25.5 | 25.9 | 30.4 | 29.6 | 30.6 | 8 | 27 | 27.8 | 27.9 | 33.6 | 62 | 1 | 48 | 82.9 | 225 | 459 | 61 | 12.3 | 12.2 | 11.8 | 60 | 100 | 104.9 | No | 8 | Encendido | N/A
1/4/2025, 6:27:29 p. m. | 25.5 | 25.6 | 30.5 | 29.4 | 28.9 | 8 | 27 | 27.7 | 28.1 | 34.3 | 65 | 0.7 | 46.7 | 83.8 | 225 | 459 | 61 | 12 | 11.9 | 11.5 | 60 | 100 | 104.9 | No | 8 | Encendido | N/A
1/4/2025, 6:26:12 p. m. | 25.5 | 25.7 | 30.4 | 30.6 | 29.8 | N/A | 27.1 | 27.7 | 28.1 | 34 | 65 | 0.7 | 47 | 88.8 | 225 | 459 | 61 | 12.9 | 12.8 | 12.4 | 60 | 100 | 104.9 | No | N/A | Encendido | N/A
1/4/2025, 6:24:55 p. m. | 25.5 | 25.3 | 30.5 | 30.1 | 31.4 | 5 | 27 | 27.7 | 28.2 | 34.2 | 66 | 0.6 | 52.5 | 89.4 | 225 | 459 | 61 | 12.2 | 12.2 | 11.8 | 60 | 100 | 104.9 | No | 5 | Encendido | N/A
1/4/2025, 6:23:39 p. m. | 25.5 | 25.4 | 30.5 | 30.1 | 30.7 | N/A | 27 | 27.7 | 28.2 | 34.4 | 66 | 0.6 | 51 | 87.7 | 225 | 461 | 62 | N/A | N/A | 0.1 | 60 | N/A | 104.8 | No | N/A | Encendido | N/A
1/4/2025, 6:22:23 p. m. | 25.5 | 26 | 30.4 | 30.1 | 29.5 | 6 | 27.2 | 27.8 | 28.4 | 34.2 | 66 | 0.5 | 45.6 | 82.4 | 225 | 458 | 60 | 12.9 | 12.9 | 12.5 | 60 | 100 | 104.8 | No | 6 | Encendido | N/A
1/4/2025, 6:21:07 p. m. | 25.5 | 25.5 | 30.2 | 30 | 28.2 | N/A | 27 | 27.7 | 28.1 | 34.2 | 66 | 0.4 | 46.6 | 84.2 | 225 | 461 | 62 | N/A | N/A | 0.1 | 60 | N/A | 104.8 | No | N/A | Encendido | N/A
1/4/2025, 6:19:49 p. m. | 25.5 | 25.4 | 30.1 | 29.7 | 693.9 | 9 | 307.3 | 512.1 | 588.9 | 2022.5 | 17153 | 76.8 | 45.6 | 82.5 | -7936 | -12673 | 16129 | N/A | N/A | N/A | 15360 | N/A | 26181.1 | No | 9 | Encendido | N/A
1/4/2025, 6:18:35 p. m. | 25.5 | 25.5 | 30.1 | 29.9 | 28.1 | N/A | 26.8 | 27.6 | 27.9 | 33.3 | 67 | 0.3 | 44.8 | 83.6 | 225 | 460 | 63 | 9.4 | 8.8 | 9 | 60 | 100 | 104.8 | No | N/A | Encendido | N/A
1/4/2025, 6:17:22 p. m. | 25.5 | 25.8 | 30.1 | 29.2 | 601.5 | 12 | 307.3 | 512.1 | 614.5 | 1996.9 | 17153 | 76.8 | 45.3 | 693.9 | -7936 | -12929 | 15617 | 3046.4 | 3046.4 | 2944 | 15360 | 25600 | 26178.6 | No | 12 | Encendido | N/A
1/4/2025, 6:16:08 p. m. | 25.5 | 26 | 30.1 | 29.5 | 28.5 | 9 | 27 | 27.7 | 27.9 | 33.6 | 67 | 0.2 | 43.2 | 78.5 | 225 | 459 | 61 | 12.3 | 12.3 | 11.9 | 60 | 100 | 104.8 | No | 9 | Encendido | N/A
1/4/2025, 6:14:54 p. m. | 25.5 | 25.4 | 29.9 | 28.5 | 693.9 | 5 | 281.7 | 460.9 | 563.3 | 2252.9 | 17409 | 51.2 | 47.4 | 80.5 | -7936 | -13185 | 15617 | 2944 | 2944 | 2841.6 | 15360 | 25600 | 26176 | No | 5 | Encendido | N/A
1/4/2025, 6:13:39 p. m. | 25.5 | 25.3 | 29.7 | 28.5 | 28.2 | 6 | 27 | 27.2 | 27.6 | 33.6 | 69 | 0.2 | 47.1 | 79.2 | 225 | 460 | 61 | 11.5 | 11.4 | 11.1 | 60 | 100 | 104.8 | No | 6 | Encendido | N/A